# Riverside shift handover — 28 September

Night shift to day shift, service centre workshop.

Pump test rig 3 is out of service: the pressure transducer reads 0.4 bar high. Replacement ordered, due Wednesday.

Two MW-300 controllers returned from Nordvik Water for firmware update; bench tests passed, ready for dispatch.

Forklift FL-2 charger tripped twice. Facilities informed; use FL-1 until it is checked.